## Summary PO Permit (hidden)
Summary PO RT/RW (CLUSTER NAME)
Permit | 7650000
(Permit + PPh 2.65%) | 7852725

## BoQ NRO Cluster
DISTRIBUSI - SUBFEEEDER | [12 empty] | AS PLAN
BOQ GPON FTTH FOR OPTICAL DISTRIBUTION NETWORK (ODN) | [12 empty] | OLT Name | XXX
PT. EKA MAS REPUBLIK ODN, OSP, Aktivasi, Instalasi, Integrasi, Testing & Dokumentasi | [12 empty] | Cluster | XXX
PROJECT ROLL OUT 2026 | [12 empty] | Net Type | Aerial
[13 empty] | HP | XXX
No | Description/Item | Unit | Material Qty | Service Qty | Material Price | Service Price | Total Material Price | Total Service Price | Total Price |  |  | Koreksi No Material | No Material | Short Text/Description SAP | Remarks | Service
1 | Pengamanan & Persiapan
1.1 | Pengamanan Perizinan dan K3 | ls |  | 1 | [6 empty] | 0 |  | 500004774 | PENGAMANAN PERIZINAN DAN K3 (Cluster Only) | Material | Vendor
1.2 | Transportasi, Mobilisasi & demobilisasi | ls |  | 1 |  |  | 0 |  |  | 1 | 0 |  | 500003890 | TRANSPORTASI, MOBILISASI DAN DEMOBILISASI | Material | Vendor
Sub Total Preparation | [6 empty] | 0 | 0 | 0
2 | ODN, OSP, Aktivasi, Instalasi, termasuk ATP Civil Work, Integrasi, Testing & Dokumentasi
2.1 | ODN
A | FO core type SM G.652.D-ADSS (Aerial dan Underground)
| FO core type SM G.652.D-ADSS 24 cores | meter | 0 |  |  |  | 0 | 0 |  | 0 | 0 |  | 200000100 | FO TYPE SM G.652.D-ADSS 24 CORES | Material | Internal
| Instal FO core type SM G.652.D-ADSS 24 cores | meter |  | 0 |  |  | 0 | 0 |  | 0 | 0 |  | 500002050 | INSTAL FO TYPE SM G.652.D-ADSS 24 CORES | Service | Vendor
| FO core type SM G.652.D-ADSS 36 cores | meter | 0 |  |  |  | 0 | 0 |  | 0 | 0 |  | 200000975 | FO TYPE SM G.652.D-ADSS 36 CORES | Material | Internal
| Instal FO core type SM G.652.D-ADSS 36 cores | meter |  | 0 |  |  | 0 | 0 |  | 0 | 0 |  | 500002051 | INSTAL FO TYPE SM G.652.D-ADSS 36 CORES | Service | Vendor
| FO core type SM G.652.D-ADSS 48 cores | meter | 0 |  |  |  | 0 | 0 |  | 0 | 0 |  | 200001038 | FO TYPE SM G.652.D-ADSS 48 CORES | Material | Internal
| Instal FO core type SM G.652.D-ADSS 48 cores | meter |  | 0 |  |  | 0 | 0 |  | 0 | 0 |  | 500002052 | INSTAL FO TYPE SM G.652.D-ADSS 48 CORES | Service | Vendor
| FO core type SM G.652.D-ADSS 72 cores | meter | [10 empty] | 200001970 | FO TYPE SM G.652.D-ADSS 72 CORES | Material | Internal
| Instal FO core type SM G.652.D-ADSS 72 cores | meter | [10 empty] | 500003410 | INSTAL FO TYPE SM G.652.D-ADSS 72 CORES | Service | Vendor
| FO core type SM G.652.D-ADSS 96 cores | meter | [10 empty] | 200001630 | FO TYPE SM G.652.D-ADSS 96 CORES | Material | Internal
| Instal FO core type SM G.652.D-ADSS 96 cores | meter | [10 empty] | 500002890 | INSTAL FO TYPE SM G.652.D-ADSS 96 CORES | Service | Vendor
| FO core type SM G.652.D-ADSS 144 cores | meter |  |  |  |  | 0 | 0 |  | 0 | 0 |  | 200001030 | FO TYPE SM G.652.D-ADSS 144 CORES | Material | Internal
| Instal FO core type SM G.652.D-ADSS 144 cores | meter |  |  |  |  | 0 | 0 |  | 0 | 0 |  | 500002088 | INSTAL FO TYPE SM G.652.D-ADSS 144 CORES | Service | Vendor
| FO core type SM G.652.D-ADSS 288 cores | meter |  |  |  |  | 0 | 0 |  | 0 | 0 |  | 200001015 | FO TYPE SM G.652.D-ADSS 288 CORES | Material | Internal
| Instal FO core type SM G.652.D-ADSS 288 cores | meter |  |  |  |  | 0 | 0 |  | 0 | 0 |  | 500002089 | INSTAL FO TYPE SM G.652.D-ADSS 288 CORES | Service | Vendor
| Round Cable 1C - 50 m | set | 0 | [9 empty] | 200002668 | ROUND CABLE 1C - 50 M | Material
| Install Round Cable 1C - 50 m | set |  | 0 | [8 empty] | 500004722 | INSTALL ROUND CABLE 1C - 50 M | Service
| Round Cable 1C - 100 m | set | 0 | [9 empty] | 200002669 | ROUND CABLE 1C - 100 M | Material
| Install Round Cable 1C - 100 m | set |  | 0 | [8 empty] | 500004723 | INSTALL ROUND CABLE 1C - 100 M | Service
| Round Cable 1C - 150 m | set | 0 | [9 empty] | 200002670 | ROUND CABLE 1C - 150 M | Material
| Install Round Cable 1C - 150 m | set |  | 0 | [8 empty] | 500004724 | INSTALL ROUND CABLE 1C - 150 M | Service
| Round Cable 1C - 200 m | set | 0 | [9 empty] | 200002671 | ROUND CABLE 1C - 200 M | Material
| Install Round Cable 1C - 200 m | set |  | 0 | [8 empty] | 500004725 | INSTALL ROUND CABLE 1C - 200 M | Service
| Round Cable 1C - 250 m | set | 0 | [9 empty] | 200002713 | ROUND CABLE 1C - 250 M | Material
| Install Round Cable 1C - 250 m | set |  | 0 | [8 empty] | 500004777 | INSTALL ROUND CABLE 1C - 250 M | Service
| Round Cable 1C - 300 m | set | 0 | [9 empty] | 200002714 | ROUND CABLE 1C - 300 M | Material
| Install Round Cable 1C - 300 m | set |  | 0 | [8 empty] | 500004778 | INSTALL ROUND CABLE 1C - 300 M | Service
B | Fiber Distribution Terminal (FDT) SC/APC c/w Box, matrix terminal, Patchtray, Pigtail, label & accessories include concrete base | [5 empty] | 0 | 0 |  | 0 | 0
| 48 cores capacity pole mounted FDT | set | 0 |  |  |  | 0 | 0 |  | 0 | 0 |  | 200001039 | 48 CORES CAPACITY POLE MOUNTED FDT | Material
| Instal 48 cores capacity pole mounted FDT | set |  | 0 |  |  |  | 0 |  | 0 | 0 |  | 500002053 | INSTAL 48 CORES CAPACITY POLE FDT | Service
| 72 cores capacity pole mounted FDT | set | 0 |  |  |  | 0 | 0 |  | 0 | 0 |  | 200001040 | 72 CORES CAPACITY POLE MOUNTED FDT | Material
| Instal 72 cores capacity pole mounted FDT | set |  | 0 |  |  | 0 | 0 |  | 0 | 0 |  | 500002054 | INSTAL 72 CORES CAPACITY POLE FDT | Service
| 96 cores capacity pole mounted FDT | set | 0 |  |  |  | 0 | 0 |  | 0 | 0 |  | 200001041 | 96 CORES CAPACITY POLE MOUNTED FDT | Material
| Instal 96 cores capacity pole mounted FDT | set |  | 0 |  |  | 0 | 0 |  | 0 | 0 |  | 500002055 | INSTAL 96 CORES CAPACITY POLE FDT | Service
| 144 cores capacity ground mounted FDT | set | 0 |  |  |  | 0 | 0 |  | 0 | 0 |  | 200001042 | 144 CORES CAPACITY GROUND MOUNTED FDT | Material
| Instal 144 cores capacity pole mounted FDT | set |  | 0 |  |  | 0 | 0 |  | 0 | 0 |  | 500002062 | INSTAL 144 CORES CAPACITY POLE FDT | Service
| 288 cores capacity ground mounted FDT | set |  |  |  |  | 0 | 0 |  | 0 | 0 |  | 200001043 | 288 CORES CAPACITY GROUND MOUNTED FDT | Material
| Instal 288 cores capacity pole mounted FDT | set |  |  |  |  | 0 | 0 |  | 0 | 0 |  | 500002073 | INSTAL 288 CORES CAPACITY POLE FDT | Service
| 576 cores capacity ground mounted FDT | set |  |  |  |  | 0 | 0 |  | 0 | 0 |  | 200001044 | 576 CORES CAPACITY GROUND MOUNTED FDT | Material
| Instal 576 cores capacity pole mounted FDT | set |  |  |  |  | 0 | 0 |  | 0 | 0 |  | 500002084 | INSTAL 576 CORES CAPACITY POLE FDT | Service
| Hub Box (With Splitter 1:2 Even) | unit | 0 | [9 empty] | 200002672 | HUB BOX (WITH SPLITTER 1:2 EVEN) | Material
| Install Hub Box (With Splitter 1:2 Even) | unit |  | 0 | [8 empty] | 500004726 | INSTALL HUB BOX (WITH SPLITTER 1:2 EVEN) | Service
C | Optical Splitter (Bracket Mount Type, SC/APC) | [5 empty] | 0 | 0 |  | 0 | 0
| Splitter 1:4 | unit |  |  |  |  | 0 | 0 |  | 0 | 0 |  | 100000191 | OPTIC SPLITTER 1:4 WITH SC/APC PIGTAILS | Material
| Splitter 1:8 (Modular) | unit | 0 |  |  |  | 0 | 0 |  | 0 | 0 |  | 100000826 | SPLITTER 1:8 | Material
D | Micro Splitter (PLC Type) | [5 empty] | 0 | 0 |  | 0 | 0
| Micro Splitter 1:4 | unit |  |  |  |  | 0 | 0 |  | 0 | 0 |  | 200001045 | MICRO SPLITTER PLC TYPE 1:4 | Material
| Micro Splitter 1:8 | unit | 0 |  |  |  | 0 | 0 |  | 0 | 0 |  | 200001046 | MICRO SPLITTER PLC TYPE 1:8 | Material
E | Fiber Access Terminal (FAT) c/w adapter, pigtail SC/APC, label & accessories | [5 empty] | 0 | 0 |  | 0 | 0
| Pole mounted outdoor type (16 ports type) | unit | 0 |  |  |  | 0 | 0 |  | 0 | 0 |  | 200001047 | FAT POLE MOUNTED TYPE (16 PORTS) | Material
| Instal Pole mounted outdoor type (16 ports type) Pole | unit |  | 0 |  |  | 0 | 0 |  | 0 | 0 | 500002142 | 500002142 | INSTAL FAT POLE MOUNTED TYPE (16 PORTS) | Service
| Pedestal ground mounted type (16 ports type) | unit | 0 |  |  |  | 0 | 0 |  | 0 | 0 |  | 100000824 | PEDESTAL MOUNTED TYPE (16 PORTS) | Material
| Instal Ground mounted outdoor type (16 ports type) | unit |  | 0 |  |  | 0 | 0 |  | 0 | 0 |  | 500002097 | INSTAL FAT POLE MOUNTED TYPE (16 PORTS) | Service
| Instalasi FAT Underground 8 Port | unit | [10 empty] | 500004720 | INSTALASI FAT UNDERGROUND 8 PORT | Service
| Instalasi FAT Underground 16 Port | unit | [10 empty] | 500004721 | INSTALASI FAT UNDERGROUND 16 PORT | Service
| Sub Box (With Splitter 1:9, Uneven 70/30) | unit | [10 empty] | 200002673 | SUB BOX (WITH SPLITTER 1:9, UNEVEN 70/30 | Material
| Install Sub Box (With Splitter 1:9, Uneven) | unit | [10 empty] | 500004727 | INSTALL SUB BOX (WITHSPLITTER1:9,UNEVEN) | Service
| End Box (With Splitter 1:8, Even) | unit | [10 empty] | 200002674 | END BOX (WITH SPLITTER 1:8, EVEN) | Material
| Install End Box (With Splitter 1:8, Even) | unit | [10 empty] | 500004728 | INSTALL END BOX (WITH SPLITTER 1:8, EVEN | Service
F | Underground Pedestal SPH920 Signature Series Type include accessories & concrete base | unit |  |  |  |  | 0 | 0 |  | 0 | 0 |  | 200000165 | PEDESTAL | Material
| Instal Underground Pedestal SPH920 Signature Series Type include accessories & concrete base | unit |  |  |  |  | 0 | 0 |  | 0 | 0 |  | 500002113 | Instal PEDESTAL | Service
G | Joint Closure | unit |  |  |  |  | 0 | 0 |  | 0 | 0
| Fiber Optic Joint Closure Type In-line 24 Core | unit |  |  |  |  | 0 | 0 |  | 0 | 0 |  | 200000182 | FO JOINT CLOSURE TYPE IN-LINE 24 CORE | Material
| Fiber Optic Joint Closure Type In-line 36 Core | unit |  |  |  |  | 0 | 0 |  | 0 | 0 |  | 200001048 | FO JOINT CLOSURE TYPE INLINE 36C | Material
| Fiber Optic Joint Closure Type In-line 48 Core | unit |  |  |  |  | 0 | 0 |  | 0 | 0 |  | 200000159 | FO JOINT CLOSURE TYPE IN-LINE 48 CORE | Material
| Fiber Optic Joint Closure Type In-line 72 Core | unit |  |  |  |  | - | - |  |  |  |  | 200000174 | FO JOINT CLOSURE TYPE IN-LINE 72 CORE
| Fiber Optic Joint Closure Type In-line 96 Core | unit |  |  |  |  | 0 | 0 |  | 0 | 0 |  | 200000179 | FO JOINT CLOSURE TYPE IN-LINE 96 CORE | Material
| Fiber Optic Joint Closure Type In-line 144 Core | unit |  |  |  |  | 0 | 0 |  | 0 | 0 |  | 200000186 | FO JOINT CLOSURE TYPE IN-LINE 144 CORE | Material
| Fiber Optic Joint Closure Type Inline 288 Core | unit |  |  |  |  | 0 | 0 |  | 0 | 0 |  | 200000155 | FO JOINT CLOSURE TYPE IN-LINE 288 CORE | Material
| Fiber Optic Joint Closure Type Dome 24 Core | unit |  |  |  |  | 0 | 0 |  | 0 | 0 |  | 200000180 | FO JOINT CLOSURE TYPE DOME 24 CORE | Material
| Fiber Optic Joint Closure Type Dome 36 Core | unit |  |  |  |  | 0 | 0 |  | 0 | 0 |  | 200001049 | FO JOINT CLOSURE TYPE DOME 36C | Material
| Fiber Optic Joint Closure Type Dome 48 Core | unit |  |  |  |  | 0 | 0 |  | 0 | 0 |  | 200000164 | FO JOINT CLOSURE TYPE DOME 48 CORE | Material
| Fiber Optic Joint Closure Type Dome 72 Core | unit |  |  |  |  | - | - |  |  |  |  | 200000178 | FO JOINT CLOSURE TYPE DOME 72 CORE
| Fiber Optic Joint Closure Type Dome 96 Core | unit |  |  |  |  | 0 | 0 |  | 0 | 0 |  | 200000176 | FO JOINT CLOSURE TYPE DOME 96 CORE | Material
| Fiber Optic Joint Closure Type Dome 144 Core | unit | [10 empty] | 200000158 | FO JOINT CLOSURE TYPE DOME 144 CORE | Material
| Fiber Optic Joint Closure Type Dome 288 Core | unit | [10 empty] | 200000156 | FO JOINT CLOSURE TYPE DOME 288 CORE | Material
H | Pigtail SM SC/APC | pcs |  |  |  |  | 0 | 0 |  | 0 | 0 |  | 200002408 | PIGTAIL - SC/APC SM 1.5M | Material
U | Connector SC/APC | pcs |  |  |  |  | 0 | 0 |  | 0 | 0 |  | 200001009 | CONNECTOR SC/APC | Material
J | Splicing | core |  | 0 |  |  | 0 | 0 |  | 0 | 0 |  | 500000510 | SPLICING FO | Service
| Protector Sleeve | pcs |  |  |  |  | 0 | 0 |  | 0 | 0 |  | 200000232 | Protector Sleeve | Material | untuk HRB
K | Label Cable (on pole, in Handhole) | pcs |  | 0 |  |  | 0 | 0 |  | 0 | 0 |  | 200000290 | LABEL KABEL | Material
L | Label FDT | pcs |  | 0 |  |  | 0 | 0 |  | 0 | 0 |  | 200000273 | LABEL FDT | Material
M | Label FAT (include QR Code) | pcs |  | 0 |  |  | 0 | 0 |  | 0 | 0 |  | 200000288 | LABEL FAT | Material
N | Label Pole | pcs |  | 0 |  |  | 0 | 0 |  | 0 | 0 |  | 500001742 | JASA PENGECETAN & LABEL TIANG BESERTA MA | Material
O | Label Pedestal | pcs |  | 0 |  |  | 0 | 0 |  | 0 | 0 |  | 200000802 | LABEL PEDESTAL | Material
P | Bridge and River crossing | meter |  |  |  |  | 0 | 0 |  | 0 | 0
| River crossing by self support | meter |  |  |  |  | 0 | 0 |  | 0 | 0 |  | 200001028 | RIVER CROSSING BY SELF SUPPORT | Material
| River crossing by attach to existing bridge | set |  |  |  |  | 0 | 0 |  | 0 | 0 |  | 200001011 | RIVER CROSSING BY ATTACH TO BRIDGE | Material
| River crossing by 7m single pole hanging bridge | set |  |  |  |  | 0 | 0 |  | 0 | 0 |  | 500002092 | INSTAL RIVER CROSSING BY 7M SINGLE POLE | Service
| River crossing by 9m single pole hanging bridge | set |  |  |  |  | 0 | 0 |  | 0 | 0 |  | 500002093 | INSTAL RIVER CROSSING BY 9M SINGLE POLE | Service
| River crossing by 9m double pole hanging bridge | set |  |  |  |  | 0 | 0 |  | 0 | 0 |  | 500002094 | INSTAL RIVER CROSSING BY 9M DOUBLE POLE | Service
Sub Total ODN | [6 empty] | 0 | 0 | 0
2.2 | Pekerjaan OSP termasuk ATP Civil Work
A | Pekerjaan Trenching berikut rekondisi Hotmix, Aspal, Makadam, Conblock, Beton Floor, Taman/rumput, Ubin | [8 empty] | 0 | 0
| Pekerjaan Trenching 150cm depth | meter |  |  |  |  | 0 | 0 |  | 0 | 0 |  | 500002115 | PEKERJAAN TRENCHING 150CM DEPTH | Service
| Pekerjaan Trenching 30-80 cm depth (distribution inside cluster only) | meter |  |  |  |  | 0 | 0 |  | 0 | 0 |  | 500002116 | PEKERJAAN TRENCHING 30-80 CM DEPTH | Service
B | Pekerjaan Boring berikut rekondisi galian pit, Hotmix, Aspal, Makadam, Conblock, Beton Floor, Taman/rumput, Ubin | [5 empty] | 0 | 0 |  | 0 | 0
| Boring manual 150cm depth | meter |  | 0 |  |  | 0 | 0 |  | 0 | 0 |  | 500002117 | BORING MANUAL 150CM DEPTH | Service
| Boring manual 2 Sub Duct 150cm depth | meter |  |  |  |  | 0 | 0 |  | 0 | 0 |  | 500002118 | BORING MANUAL 2 SUB DUCT 150CM DEPTH | Service
| Boring manual 3 Sub Duct 150cm depth | meter |  |  |  |  | 0 | 0 |  | 0 | 0 |  | 500002119 | BORING MANUAL 3 SUB DUCT 150CM DEPTH | Service
| Boring manual PVC/HDPE 4" 150cm depth | meter |  |  |  |  | 0 | 0 |  | 0 | 0 |  | 500002120 | BORING MANUAL PVC/HDPE 4" 150CM DEPTH | Service
| Boring directional jalan raya | meter |  |  |  |  | 0 | 0 |  | 0 | 0 |  | 500000879 | PENGERJAAN BORING CROSSING JALAN RAYA | Service
| Boring directional jalan tol | meter |  |  |  |  | 0 | 0 |  | 0 | 0 |  | 500002121 | BORING DIRECTIONAL JALAN TOL | Service
| Boring rel kereta | track/meter |  |  |  |  | 0 | 0 |  | 0 | 0 |  | 200000399 | BORING KA | Service
| Boring Mesin | meter |  |  |  |  | 0 | 0 |  | 0 | 0 |  | 500000980 | BORING Mesin | Service
| Boring Manual 400 cm (Jalur KAI) | meter | [10 empty] | 500003620 | BORING MANUAL 400 CM ( JALUR KAI ) | Service
| Pengadaan dan pemasangan pipa Duct pada jembatan dengan self support berpenguatan menggunakan Pipa besi Galv 1 pipa, bentang 6 - 12 meter | meter |  |  |  |  | 0 | 0 |  | 0 | 0 |  | 500002847 | PIPA DUCT JEMBATAN 1 PIPA BESI 6-12M | Service | untuk area Bandung, Makassar, Surabaya
| Pengadaan dan pemasangan pipa Duct pada jembatan dengan self support berpenguatan menggunakan Pipa besi Galv 2 pipa, bentang 6 - 12 meter | meter |  |  |  |  | 0 | 0 |  | 0 | 0 |  | 500002848 | PIPA DUCT JEMBATAN 2 PIPA BESI 6-12M | Service | untuk area Bandung, Makassar, Surabaya
| Pengadaan dan pemasangan Pipa Duct dengan system gantung 1 tiang besi, bentang s/d 40 meter | meter |  |  |  |  | 0 | 0 |  | 0 | 0 |  | 500002849 | PIPA DUCT GANTUNG 1 TIANG BESI S/D 40M | Service | untuk area Bandung, Makassar, Surabaya
| Pengadaan dan pemasangan Pipa Duct dengan system gantung 2 tiang besi, bentang s/d 100 meter | meter |  |  |  |  | 0 | 0 |  | 0 | 0 |  | 500003030 | PIPA DUCT GANTUNG 2 TIANG BESI S/D 40M | Service | untuk area Bandung, Makassar, Surabaya
| Pengadaan dan Pemasangan 1 Subduct 50/42 pada polongan route Duct | meter |  |  |  |  | 0 | 0 |  | 0 | 0 |  | 500003031 | SUBDUCT 50/42 POLONGAN ROUTE DUCT | Service | untuk area Bandung, Makassar, Surabaya
| pengadaan dan Pemasangan 1 Subduct 50/42 pada polongan route Duct, 2 pipa | meter |  |  |  |  | 0 | 0 |  | 0 | 0 |  | 500003032 | SUBDUCT 50/42 POLONGAN ROUTE DUCT 2 PIPA | Service | untuk area Bandung, Makassar, Surabaya
| Pekerjaan Pembersihan pada route Duct yang kosong / Rodding Duct Existing. | meter |  |  |  |  | 0 | 0 |  | 0 | 0 |  | 500003033 | PEMBERSIHAN PADA ROUTE DUCT | Service | untuk area Bandung, Makassar, Surabaya
| Pekerjaan Perbaikan Route Duct / HDPE, 1 pipa. | meter |  |  |  |  | 0 | 0 |  | 0 | 0 |  | 500003034 | PERBAIKAN ROUTE DUCT / HDPE, 1 PIPA | Service | untuk area Bandung, Makassar, Surabaya
| Pekerjaan bobok dinding MH / HH termasuk perbaikan kembali | meter3 |  |  |  |  | 0 | 0 |  | 0 | 0 |  | 500003035 | BOBOK DINDING MH/HH | Service | untuk area Bandung, Makassar, Surabaya
| Pengadaan galian batu masif kedalaman 1,5 meter, panjang minimum 5 m, termasuk pengadaan marking post | meter |  |  |  |  | 0 | 0 |  | 0 | 0 |  | 500003036 | GALIAN BATU 1,5M MIN 5M | Service | untuk area Bandung, Makassar, Surabaya
| Pekerjaan galian pada permukaan jalan aspal dengan lebar galian 8 cm dan kedalaman 40 cm, termasuk pemetaan, pengurugan (backfilling) menggunakan concrete type K225 dan pengaspalan | meter |  |  |  |  | 0 | 0 |  | 0 | 0 |  | 500003037 | GALIAN ASPAL 8CMX40CM, CONCRET K225 | Service | untuk area Bandung, Makassar, Surabaya
| Pekerjaan Peninggian Tutup Manhole/Handhole | pcs |  |  |  |  | 0 | 0 |  | 0 | 0 |  | 500003038 | PENINGGIAN TUTUP MH/HH | Service | untuk area Bandung, Makassar, Surabaya
C | Sub Duct / HDPE | [5 empty] | 0 | 0 |  | 0 | 0
| Sub Duct / HDPE 32/28 warna hitam, 3 strip ungu | meter | 0 |  |  |  | 0 | 0 |  | 0 | 0 |  | 200001017 | SUB DUCT/HDPE 32/26 HITAM, 3 STRIP UNGU | Material
| Instal Sub Duct / HDPE 32/28 warna hitam, 3 strip ungu | meter |  | 0 |  |  | 0 | 0 |  | 0 | 0 | 500002144 | 500002144 | Jasa penarikan dan instalasi FO Undergro | Service
| Socket HDPE 32/28 | pcs | 0 |  |  |  | 0 | 0 |  | 0 | 0 |  | 200000994 | SOCKET HDPE 32/26 | Material
| Instal Socket HDPE 32/28 | pcs |  | 0 |  |  | 0 | 0 |  | 0 | 0 | 500002145 | 500002145 | Jasa penarikan dan instalasi FO Undergro | Service
| Sub Duct / HDPE 40/34 warna Ungu, 3 Strip Putih | meter | 0 |  |  |  | 0 | 0 |  | 0 | 0 |  | 200000510 | SUBDUCT HDPE 34/40 (UNGU STRIP PUTIH) | Material
| Instal Sub Duct / HDPE 40/34 warna Ungu, 3 Strip Putih | meter |  | 0 |  |  | 0 | 0 |  | 0 | 0 | 500002146 | 500002146 | Jasa penarikan dan instalasi FO Undergro | Service
| Socket HDPE 40/34 | pcs | 0 |  |  |  | 0 | 0 |  | 0 | 0 |  | 200000282 | SOCKET HDPE 40/34
| Instal Socket HDPE 40/34 | pcs |  | 0 |  |  | 0 | 0 |  | 0 | 0 | 500002147 | 500002147 | Jasa penarikan dan instalasi FO Undergro | Service
D | Galvanize pipe include shock and clamp | [5 empty] | 0 | 0 |  | 0 | 0
| Galvanize pipe (diameter 1 inch) | meter |  |  |  |  | 0 | 0 |  | 0 | 0 |  | 200000600 | GALVANIZED STEEL PIPE 1 1/4" | Material
| Galvanize pipe (diameter 2 inch) | meter |  |  |  |  | 0 | 0 |  | 0 | 0 | 200001054 | 200001054 | GALVANIZED STEEL PIPE 2" | Material
| Galvanize pipe (diameter 3 inch) | meter |  |  |  |  | 0 | 0 |  | 0 | 0 |  | 200000292 | GAVANIZE PIPE DIAMETER 3INCH | Material
| Galvanize pipe (diameter 4 inch) | meter |  |  |  |  | 0 | 0 |  | 0 | 0 |  | 200000742 | GALVANIZED STEEL PIPE 4" (4 METER ) | Material
E | PVC AW Pipe include shock and clamp | [5 empty] | 0 | 0 |  | 0 | 0
| PVC AW pipe (diameter 1 inch) | meter |  |  |  |  | 0 | 0 |  | 0 | 0 |  | 200001050 | PVC AW PIPE (DIAMETER 1 INCH) | Material
| PVC AW pipe (diameter 2 inch) | meter |  |  |  |  | 0 | 0 |  | 0 | 0 |  | 200001051 | PVC AW PIPE (DIAMETER 2 INCH) | Material
| PVC AW pipe (diameter 3 inch) | meter |  |  |  |  | 0 | 0 |  | 0 | 0 |  | 200001052 | PVC AW PIPE (DIAMETER 3 INCH) | Material
| PVC AW pipe (diameter 4 inch) | meter |  |  |  |  | 0 | 0 |  | 0 | 0 |  | 200001053 | PVC AW PIPE (DIAMETER 4 INCH) | Material
F | Cable Duct Installation include accessories | [5 empty] | 0 | 0 |  | 0 | 0
| Cable Duct TC-2 | meter |  |  |  |  | 0 | 0 |  | 0 | 0 |  | 200001022 | CABLE DUCT TC-2 | Material
| Cable Duct TC-3 | meter |  |  |  |  | 0 | 0 |  | 0 | 0 |  | 200001035 | CABLE DUCT TC-3 | Material
| Cable Duct TC-4 | meter |  |  |  |  | 0 | 0 |  | 0 | 0 |  | 200001003 | CABLE DUCT TC-4 | Material
| Cable Duct TC-5 | meter |  |  |  |  | 0 | 0 |  | 0 | 0 |  | 200001023 | CABLE DUCT TC-5 | Material
| Cable Duct TC-6 | meter |  |  |  |  | 0 | 0 |  | 0 | 0 |  | 200001000 | CABLE DUCT TC-6 | Material
| Cable Duct 10 x 5 cm | meter |  |  |  |  | 0 | 0 |  | 0 | 0 |  | 200000998 | CABLE DUCT 10 X 5 CM | Material
| Cable Duct 10 x 10 cm | meter |  |  |  |  | 0 | 0 |  | 0 | 0 | 200001016 | 200001016 | CABLE DUCT 10 X 10 CM | Material
G | Conduit, flexible dan aksesoris pipa | [5 empty] | 0 | 0 |  | 0 | 0
| Conduit pipe 3/4 inch | meter |  |  |  |  | 0 | 0 |  | 0 | 0 |  | 200001008 | CONDUIT PIPE 3/4 INCH | Material
| Flexible 3/4 inch | meter | 0 | 0 |  |  | 0 | #REF! |  | #REF! | 0 |  | 200001018 | FLEXIBLE 3/4 INCH | Material
| Shock Conduit Pipe 3/4 inch | pcs |  |  |  |  | 0 | 0 |  | 0 | 0 |  | 200000993 | SHOCK CONDUIT PIPE 3/4 INCH | Material
| Clamp for PVC Conduit support 3/4 inch | pcs |  |  |  |  | 0 | 0 |  | 0 | 0 |  | 200001021 | CLAMP FOR PVC CONDUIT SUPPORT 3/4 INCH | Material
| Steel Clamp dia 36 mm, width 25 mm, thickness 3 mm + dynabolt | pcs |  |  |  |  | 0 | 0 |  | 0 | 0 |  | 200001004 | STEEL CLAMP DIA 36 MM, WIDTH 25 MM | Material
| PVC Double Elbow 1.25" | pcs |  |  |  |  | 0 | 0 |  | 0 | 0 |  | 200000991 | PVC DOUBLE ELBOW 1.25" | Material
| PVC Double Elbow 1.5" | pcs |  |  |  |  | 0 | 0 |  | 0 | 0 |  | 200000997 | PVC DOUBLE ELBOW 1.5" | Material
| Socket (D-DS) 1 inch | pcs |  |  |  |  | 0 | 0 |  | 0 | 0 |  | 200001027 | SOCKET (D-DS) 1 INCH | Material
| Large Radius Tee (D-LT) 2 x 1 inch | pcs |  |  |  |  | 0 | 0 |  | 0 | 0 |  | 200001006 | LARGE RADIUS TEE(D-LT) 2 X 1 INCH | Material
| Elbow (D-DL) 1 inch | pcs |  |  |  |  | 0 | 0 |  | 0 | 0 |  | 200001014 | ELBOW (D-DL) 1 INCH | Material
| Dop 1 inch | pcs |  |  |  |  | 0 | 0 |  | 0 | 0 |  | 200000999 | DOP 1 INCH | Material
| Tambang pancing/Roding rope | meter |  |  |  |  | 0 | 0 |  | 0 | 0 |  | 200000267 | TAMBANG PANCING/RODING ROPE | Material
H | Hand hole include cover, cable hanger and accessories | [5 empty] | 0 | 0 |  | 0 | 0
| Precast Hand hole for FDT : 80 x 80 x 130 cm | set | 0 |  |  |  | 0 | 0 |  | 0 | 0 |  | 200000978 | PRECAST HH FDT : 80 X 80 X 130 CM | Material
| Instal Precast Hand hole for FDT : 80 x 80 x 130 cm | set |  | 0 |  |  | 0 | 0 |  | 0 | 0 |  | 500002102 | INSTAL PRECAST HHFDT : 80 X 80 X 130 CM | Service
| Concrete Hand hole for FDT: 80 x 80 x 130 cm | set | 0 |  |  |  | 0 | 0 |  | 0 | 0 |  | 200000710 | HANDHOLE 80X80X130 CM3 DGN 1 TUTUP HH | Material
| Instal Concrete Hand hole for FDT: 80 x 80 x 130 cm | set |  | 0 |  |  | 0 | 0 |  | 0 | 0 |  | 500002101 | INSTAL HAND HOLE INCLUDE COVER, FOR FDT | Service
| Precast Hand hole for FAT : 40 x 40 x 60 cm | set | 0 |  |  |  | 0 | 0 |  | 0 | 0 |  | 200001032 | PRECAST HAND HOLE FAT : 40 X 40 X 60 CM | Material
| Instal Precast Hand hole for FAT : 40 x 40 x 60 cm | set |  | 0 |  |  | 0 | 0 |  | 0 | 0 |  | 500002060 | INSTAL PRECAST HH FAT : 40 X 40 X 60 CM | Service
| Concrete Hand hole for FAT " : 40 x 40 x 60 cm | set | 0 |  |  |  | 0 | 0 |  | 0 | 0 |  | 200000613 | HANDHOLE 40X40X60 CM3 DENGAN 1 TUTUP HH | Material
| Instal Concrete Hand hole for FAT " : 40 x 40 x 60 cm | set |  | 0 |  |  | 0 | 0 |  | 0 | 0 |  | 500001316 | PEMBUATAN HANDHOLE 40X40X60 cm3 DG 1 TUT | Service
| Precast Hand hole for pulling pit : 20x20x20 cm | set | 0 |  |  |  | 0 | 0 |  | 0 | 0 |  | 200000992 | PRECAST HAND HOLE PIT : 20X20X20 CM | Material
| Instal Precast Hand hole for pulling pit : 20x20x20 cm | set |  | 0 |  |  | 0 | 0 |  | 0 | 0 |  | 500002061 | INSTAL PRECAST HH PIT : 20X20X20 CM | Service
| Concrete Hand hole for pulling pit : 20x20x20 cm | set | 0 |  |  |  | 0 | 0 |  | 0 | 0 |  | 200001013 | CONCRETE HAND HOLE PIT : 20X20X20 CM | Material
| Instal Concrete Hand hole for pulling pit : 20x20x20 cm | set |  | 0 |  |  | 0 | 0 |  | 0 | 0 |  | 500002063 | INSTAL CONCRETE HH PIT : 20X20X20 CM | Service
| Pembuatan HH PIT 100x100x4 M Jalur KAI | set | [7 empty] | 0 | 0 |  | 500003621 | PEMBUATAN HH PIT 100X100X4 M JALUR KAI
| Pemasangan Turab HH PIT dan Barikade | set | [7 empty] | 0 | 0 |  | 500003622 | PEMASANGAN TURAB HH PIT DAN BARIKADE
| Label HH | pcs |  | 0 |  |  | 0 | 0 |  | 0 | 0 |  | 200000977 | LABEL HANDHOLE | Material
I | Cable riser include accessories | set |  |  |  |  | 0 | 0 |  | 0 | 0 |  | 200001034 | CABLE RISER INCLUDE ACCESSORIES | Material
J | Warning tape (Tulisan KABEL MY REPUBLIC) | meter |  |  |  |  | 0 | 0 |  | 0 | 0 |  | 200000181 | WARNING TAPE | Material
K | Marking post (per 400 meter) | pcs |  |  |  |  | 0 | 0 |  | 0 | 0 |  | 200000160 | MARKING POST | Material
L | Cable Tray include hanger and accessories | meter |  |  |  |  | 0 | 0 |  | 0 | 0 |  | 200000310 | CABLE TRAY | Material
M | Cable Ladder Tray include hanger and accessories | meter |  |  |  |  | 0 | 0 |  | 0 | 0 |  | 200000995 | CABLE LADDER TRAY INCLUDE HANGER | Material
N | Bobok dinding per titik | pcs |  |  |  |  | 0 | 0 |  | 0 | 0 |  | 500000993 | BOBOKAN TEMBOK | Service
O | Bobok ceiling per titik | pcs |  |  |  |  | 0 | 0 |  | 0 | 0 |  | 500002067 | BOBOK CEILING PER TITIK | Service
P | Public Right of Way (ROW)/Permit Aerial | set |  |  |  |  | 0 | 0 |  | 0 | 0 |  | 500002103 | PUBLIC RIGHT OF WAY (ROW)/PERMIT AERIAL | Service
Q | Kementerian Permit - Balai Besar (Balai Nasional) | meter |  |  |  |  | 0 | 0 |  | 0 | 0 | 500002148 | 500002148 | PERMIT DINAS | Service
R | PU Permit | meter |  |  |  |  | 0 | 0 |  | 0 | 0 | 500002149 | 500002149 | PERMIT DINAS | Service
S | Landlord Permit | meter |  |  |  |  | 0 | 0 |  | 0 | 0 | 500002150 | 500002150 | COMMUNITY PERMIT | Service
T | KAI Permit | meter |  |  |  |  | 0 | 0 |  | 0 | 0 | 500002151 | 500002151 | PERMIT DINAS | Service
U | Community Permit | meter |  |  |  |  | 0 | 0 |  | 0 | 0 | 500002152 | 500002152 | COMMUNITY PERMIT | Service
V | Pengelola Tol Permit | meter |  |  |  |  | 0 | 0 |  | 0 | 0 | 500002153 | 500002153 | COMMUNITY PERMIT | Service
W | Pengelola LRT | meter |  |  |  |  | 0 | 0 |  | 0 | 0 | 500002154 | 500002154 | COMMUNITY PERMIT | Service
X | RT/RW Permit | meter |  |  |  |  | 0 | 0 |  | 0 | 0 | 500002155 | 500002155 | COMMUNITY PERMIT | Service
Y | Pemerintah Daerah Permit | meter |  |  |  |  | 0 | 0 |  | 0 | 0 | 500002156 | 500002156 | PERMIT DINAS | Service
Sub Total OSP - ATP Civil Work | [6 empty] | 0 | #REF! | #REF! |  |  | #REF!
2.3 | Instalasi Kabel lintas udara termasuk pondasi, bracket, aksesoris, perkuatan tiang termasuk ATP Civil Work
A | Pengadaan Tiang 7 meter 5", STEL L-003 1996 | set | 0 |  |  |  | 0 | 0 |  | 0 | 0 |  | 200000187 | POLE / TIANG UDARA 7 METER | Material
| Pemasangan Tiang 7 meter 5", STEL L-003 1996 | set |  | 0 |  |  | 0 | 0 |  | 0 | 0 | 500002157 | 500002157 | JASA PEMASANGAN TIANG TUNGGAL 7 M | Service
B | Pengadaan Tiang Tunggal 9 meter 5", STEL L-003 1996 | set | 0 |  |  |  | 0 | 0 |  | 0 | 0 |  | 200000169 | POLE / TIANG UDARA 9 METER | Material
| Pemasangan Tiang Tunggal 9 meter 5", STEL L-003 1996 | set |  | 0 |  |  | 0 | 0 |  | 0 | 0 |  | 500001293 | JASA PEMASANGAN TIANG TUNGGAL 9 M | Service
C | Pengadaan Tiang 7 meter 4", STEL L-003 1996 | set | 0 |  |  |  | 0 | 0 |  | 0 | 0 |  | 200001183 | POLE / TIANG UDARA 7 METER | Material
| Pemasangan Tiang 7 meter 4", STEL L-003 1996 | set |  | 0 |  |  | 0 | 0 |  | 0 | 0 | 500002480 | 500002480 | JASA PEMASANGAN TIANG TUNGGAL 7 M | Service
D | Pengadaan Tiang Tunggal 9 meter 4", STEL L-003 1996 | set | 0 |  |  |  | 0 | 0 |  | 0 | 0 |  | 200001181 | POLE / TIANG UDARA 9 METER | Material
| Pemasangan Tiang Tunggal 9 meter 4", STEL L-003 1996 | set |  | 0 |  |  | 0 | 0 |  | 0 | 0 |  | 500002337 | JASA PEMASANGAN TIANG TUNGGAL 9 M | Service
E | Pengadaan Tiang 7 meter 3 inch | set | 0 |  |  |  | 0 | 0 |  | 0 | 0 | 200001055 | 200001055 | POLE / TIANG UDARA 7 METER | Material
| Pemasangan Tiang 7 meter 3 inch | set |  | 0 |  |  | 0 | 0 |  | 0 | 0 | 500002159 | 500002159 | JASA PEMASANGAN TIANG TUNGGAL 7 M | Service
| Pole / Tiang Udara 7 Meter 2.5 | unit | 0 | [9 empty] | 200002675 | POLE / TIANG UDARA 7 METER 2.5 | Material
| Pemasangan Pole / Tiang Udara 7 M 2.5 | unit |  | 0 | [8 empty] | 500004729 | PEMASANGAN POLE / TIANG UDARA 7 M 2.5 | Service
F | Perkuatan Tiang | [5 empty] | 0 | 0 |  | 0 | 0
| Temberang (perkuatan tiang termasuk sling, anchor dan aksesories) | set |  |  |  |  | 0 | 0 |  | 0 | 0 | 200000996 | 200000996 | TEMBERANG (INCLUDE SLING) | Material
| Tiang sokong (tiang 9m) | set |  |  |  |  | 0 | 0 |  | 0 | 0 |  | 200000979 | TIANG SOKONG (TIANG 9M) | Material
| Tiang sokong (tiang 7m) | set |  |  |  |  | 0 | 0 |  | 0 | 0 |  | 200001007 | TIANG SOKONG (TIANG 7M) | Material
G | Cable loop holder/plat strip/Cable hanger | set | 0 | 0 |  |  | #REF! | 0 |  | #REF! | 0 |  | 200000185 | CABLE HANGER | Material
H | Instalasi strand wire/sling messenger 6 mm | meter | 0 | 0 |  |  | #REF! | 0 |  | #REF! | 0 |  | 200001033 | STRAND WIRE MESSENGER 6 MM | Material
I | Pole Accessories detail | set |  |  |  |  | 0 | 0 |  | 0 | 0 |  | 500002194
| 1. Plate belt 20mm | pcs | 0 | 0 |  |  | 0 | 0 |  | 0 | 0 |  | 200000149 | PLATE BELT 20MM | Material |  | PLATE BELT 20MM | Material
| 2. Suspension clamp | pcs | 0 | 0 |  |  | 0 | 0 |  | 0 | 0 |  | 200000148 | SUSPENSION CLAMP | Material |  | SUSPENSION CLAMP | Material
| 3. Steel hoop and rubber tape | pcs |  | 0 |  |  | 0 | 0 |  | 0 | 0 |  | 200000188 | STEEL HOOP AND RUBBER TAPE | Material |  | STEEL HOOP AND RUBBER TAPE | Material
| 4. Buldog grip | pcs | 0 | 0 |  |  | 0 | 0 |  | 0 | 0 |  | 200000172 | BULDOG GRIP | Material |  | BULDOG GRIP | Material
| 5. Clamp 8 (Clamp Gantung) | pcs | 0 | 0 | [8 empty] | 200002130 | CLAMP 8 (CLAMP GANTUNG) | Material |  | CLAMP 8 (CLAMP GANTUNG) | Material
| 6. Riser pipe 1,5" | pcs |  | 0 |  |  | 0 | 0 |  | 0 | 0 |  | 200000175 | RISER PIPE | Material |  | RISER PIPE | Material
| 7. Galvanized steel pipe 2" | pcs | 0 | 0 |  |  | 0 | 0 |  | 0 | 0 |  | 200000670 | GALVANIZED STEEL PIPE 2" | Material |  | GALVANIZED STEEL PIPE 2" | Material
| 8. Steel clamp | pcs | 0 | 0 |  |  | 0 | 0 |  | 0 | 0 |  | 200000166 | STEEL CLAMP | Material |  | STEEL CLAMP | Material
| 9. Pole clamp single | pcs | 0 | 0 |  |  | 0 | 0 |  | 0 | 0 |  | 200000145 | POLE CLAMP SINGLE | Material |  | POLE CLAMP SINGLE | Material
| 10. Pole clamp 2 cable installation | pcs |  | 0 |  |  | 0 | 0 |  | 0 | 0 |  | 200000150 | POLE CLAMP 2 CABLE INSTALLATION | Material |  | POLE CLAMP 2 CABLE INSTALLATION | Material
| 11.Clamps Dead end Fittings/clamp buaya | pcs | 0 | 0 |  |  | 0 | 0 |  | 0 | 0 |  | 500001103 | DEAD END | Material |  | DEAD END | Material
| 12. Bahan Pondasi tiang | pcs | 0 | 0 |  |  | 0 | 0 |  | 0 | 0 |  | 200000690 | BAHAN PONDASI TIANG | Material |  | BAHAN PONDASI TIANG | Material
| 13. HELICAL DEAD END DIAMETER 15.7-17.0 MM | pcs | 0 | 0 |  |  | 0 | 0 |  | 0 | 0 |  | 200001510 | Helical Dead End | Material |  | Helical Dead End | Material
| 14. Extention Arm | pcs | 0 | 0 | [5 empty] | 0 | 0 |  | 200001070 | EXTENTION ARM | Material |  | EXTENTION ARM | Material
Sub Total Instalasi Kabel Lintas Udara | [6 empty] | #REF! | 0 | #REF!
2.4 | Optical System
A | Standard Rack include cable management and accessories | [5 empty] | 0 | 0 |  | 0 | 0
| Standing Closed Rack 19" with Glass Panel | set |  |  |  |  | 0 | 0 |  | 0 | 0 |  | 200001001 | STANDING CLOSED RACK 19" GLASS PANEL | Material
| Instal Standing Closed Rack 19" with Glass Panel | set |  |  |  |  | 0 | 0 |  | 0 | 0 |  | 500002069 | INSTAL STANDING CLOSED RACK 19" GLASS | Service
| Standing Open Rack 19" | set |  |  |  |  | 0 | 0 |  | 0 | 0 |  | 200001005 | STANDING OPEN RACK 19" | Material
| Instal Standing Open Rack 19" | set |  |  |  |  | 0 | 0 |  | 0 | 0 |  | 500002070 | INSTAL STANDING OPEN RACK 19" | Service
| Wall Mount Closed Rack Standard 19" with Glass Panel 12 U (450 mm Depth) | set |  |  |  |  | 0 | 0 |  | 0 | 0 |  | 200001036 | WALL MOUNT CLOSED RACK 19" GLASS PANEL | Material
| Instal Wall Mount Closed Rack Standard 19" with Glass Panel 12 U (450 mm Depth) | set |  |  |  |  | 0 | 0 |  | 0 | 0 |  | 500002071 | INSTAL WALL MOUNT CLOSED RACK 19" GLASS | Service
B | Optical Distribution Frame(SC/APC) include fiber cable management and accessories (Indoor) | [5 empty] | 0 | 0 |  | 0 | 0
| Optical Distribution Frame(SC/APC) - 384 ports (ODF) | unit |  |  |  |  | 0 | 0 |  | 0 | 0 |  | 200001002 | ODF (SC/APC) - 384 PORTS INDOOR | Material
| Instal Optical Distribution Frame(SC/APC) - 384 ports (ODF) | unit |  |  |  |  | 0 | 0 |  | 0 | 0 |  | 500002072 | INSTAL ODF (SC/APC) - 384 PORTS INDOOR | Service
| Optical Distribution Frame(SC/APC) - 576 ports (ODF) | unit |  |  |  |  | 0 | 0 |  | 0 | 0 |  | 200001010 | ODF (SC/APC) - 576 PORTS INDOOR | Material
| Instal Optical Distribution Frame(SC/APC) - 576 ports (ODF) | unit |  |  |  |  | 0 | 0 |  | 0 | 0 |  | 500002074 | INSTAL ODF (SC/APC) - 576 PORTS INDOOR | Service
| Optical Distribution Frame(SC/APC) - 720 ports (ODF) | unit |  |  |  |  | 0 | 0 |  | 0 | 0 |  | 200001020 | ODF (SC/APC) - 720 PORTS INDOOR | Material
| Instal Optical Distribution Frame(SC/APC) - 720 ports (ODF) | unit |  |  |  |  | 0 | 0 |  | 0 | 0 |  | 500002075 | INSTAL ODF (SC/APC) - 720 PORTS INDOOR | Service
| Optical Distribution Frame(SC/APC) - 864 ports (ODF) | unit |  |  |  |  | 0 | 0 |  | 0 | 0 |  | 200001037 | ODF (SC/APC) - 864 PORTS INDOOR | Material
| Instal Optical Distribution Frame(SC/APC) - 864 ports (ODF) | unit |  |  |  |  | 0 | 0 |  | 0 | 0 |  | 500002076 | INSTAL ODF (SC/APC) - 864 PORTS INDOOR | Service
C | Optical Distribution Frame(SC/APC) include fiber cable management and accessories, will be installed inside Active equipment Outdoor Cabinet (outdoor) | [5 empty] | 0 | 0 |  | 0 | 0
| Optical Distribution Frame(SC/APC) - 48 ports (ODF) | unit |  |  |  |  | 0 | 0 |  | 0 | 0 |  | 200001029 | ODF (SC/APC) - 48 PORTS OUTDOOR | Material
| Instal Optical Distribution Frame(SC/APC) - 48 ports (ODF) | unit |  |  |  |  | 0 | 0 |  | 0 | 0 |  | 500002077 | INSTAL ODF (SC/APC) - 48 PORTS OUTDOOR | Service
| Optical Distribution Frame(SC/APC) - 168 ports (ODF) | unit |  |  |  |  | 0 | 0 |  | 0 | 0 |  | 200001026 | ODF (SC/APC) - 168 PORTS OUTDOOR | Material
| Instal Optical Distribution Frame(SC/APC) - 168 ports (ODF) | unit |  |  |  |  | 0 | 0 |  | 0 | 0 |  | 500002078 | INSTAL ODF (SC/APC) - 168 PORTS OUTDOOR | Service
| Optical Distribution Frame(SC/APC) - 288 ports (ODF) | unit |  |  |  |  | 0 | 0 |  | 0 | 0 |  | 200000990 | ODF (SC/APC) - 288 PORTS OUTDOOR | Material
| Instal Optical Distribution Frame(SC/APC) - 288 ports (ODF) | unit |  |  |  |  | 0 | 0 |  | 0 | 0 |  | 500002079 | INSTAL ODF (SC/APC) - 288 PORTS OUTDOOR | Service
| Optical Distribution Frame(SC/APC) - 576 ports (ODF) | unit |  |  |  |  | 0 | 0 |  | 0 | 0 |  | 200001019 | ODF (SC/APC) - 576 PORTS OUTDOOR | Material
| Instal Optical Distribution Frame(SC/APC) - 576 ports (ODF) | unit |  |  |  |  | 0 | 0 |  | 0 | 0 |  | 500002080 | INSTAL ODF (SC/APC) - 576 PORTS OUTDOOR | Service
D | Optical Termination module include pigtail inside | [5 empty] | 0 | 0 |  | 0 | 0
| 12 core capacity | pcs |  |  |  |  | 0 | 0 |  | 0 | 0 |  | 100000187 | OTB 12PORT SC/PC | Material
| 24 core capacity | pcs |  |  |  |  | 0 | 0 |  | 0 | 0 |  | 100000188 | OTB 24PORT SC/PC | Material
| 48 core capacity | pcs |  |  |  |  | 0 | 0 |  | 0 | 0 |  | 100000189 | OTB 48PORT SC/PC | Material
| 72 core capacity | pcs |  |  |  |  | 0 | 0 |  | 0 | 0 |  | 100000820 | OTB 72 CORE IN PIGTAIL FC /PC & SC/PC | Material
| 96 core capacity | pcs |  |  |  |  | 0 | 0 |  | 0 | 0 |  | 100000821 | OTB 96 CORE IN PIGTAIL FC /PC & SC/PC | Material
E | Patchcord SM G.657A2 | [5 empty] | 0 | 0 |  | 0 | 0
| Patchcord SM G.657A2 SC/APC - SC/UPC - 10 m | pcs |  |  |  |  | 0 | 0 |  | 0 | 0 |  | 200000069 | PATCHCORD SC/APC - SC/UPC -10 M | Material
| Patchcord SM G.657A2 SC/APC - SC/UPC - 3 m | pcs |  |  |  |  | 0 | 0 |  | 0 | 0 |  | 200001025 | PATCHCORD SC/APC - SC/UPC -3 M | Material
| Patchcord SM G.657A2 SC/APC - SC/APC - 10 m | pcs |  |  |  |  | 0 | 0 |  | 0 | 0 |  | 200001024 | PATCHCORD SC/APC - SC/APC -10 M | Material
| Patchcord SM G.657A2 SC/APC - SC/APC - 3 m | pcs |  |  |  |  | 0 | 0 |  | 0 | 0 |  | 200000251 | PATCHCORD G.657A2 SC/APC -SC/APC SM 3M | Material
Sub Optical System | [6 empty] | 0 | 0 | 0
2.5 | Pekerjaan Aktivasi, Integrasi, Testing & Commissioning
| Testing & Commissioning (Testcomm / Uji Terima) : | [5 empty] | 0 | 0 |  | 0 | 0
a | Testcomm OTDR & OPM OLT - ODF | core |  |  |  |  | 0 | 0 |  | 0 | 0 |  | 500002085 | TESTCOMM OTDR & OPM OLT - FAT | Service
b | Testcomm OTDR & OPM ODF - FDT | core |  |  |  |  | 0 | 0 |  | 0 | 0 |  | 500002106 | TESTCOMM OTDR & OPM ODF - FDT | Service
c | Testcomm OTDR & OPM FDT - FAT | core |  | 0 |  |  | 0 | 0 |  | 0 | 0 |  | 500002107 | TESTCOMM OTDR & OPM FDT - FAT | Service
Sub Total Aktivasi, Integrasi, Testing & Commissioning | [6 empty] | 0 | 0 | 0
2.6 | Documentation
A | Survey & Design (Asplan) | meter |  | 0 |  |  | 0 | 0 |  | 0 | 0 |  | 500001519 | SURVEY DAN DESIGN
B | As Built Drawing A1 (1 set asli + 3 set copy + soft copy), KMZ, BOQ & Documentation | set per site |  | 1 |  |  | 0 | 0 |  | 1 | 0 |  | 500002108 | AS BUILT DRAWING A3 (1 SET), KMZ, & BOQ | Service
Sub Total Documentation | [6 empty] | 0 | 0 | 0
3 | Others
A | Project Management | meter |  | 0 |  |  | 0 | 0 |  | 0 | 0 |  | 500001887 | PROJECT MANAGEMENT | Service
Sub Total Project Management Fee | [6 empty] | 0 | 0 | 0
4 | Warehouse
A | Warehouse | ls |  | 1 |  |  | 0 | 0 |  | 1 | 0 |  | 500001853 | WAREHOUSE | Service
Sub Total Warehouse | [6 empty] | 0 | 0 | 0
5 | Extended Warranty & Maintenance (After 1 year basic Warranty & Maintenance) - (Optional)
A | Warranty & Maintenance ODN per year | ls |  |  |  |  | 0 | 0 |  |  |  |  | 500002109 | WARRANTY & MAINTENANCE ODN PER YEAR | Service
Sub Total Extended Warranty & Maintenance | [6 empty] | 0 | 0 | 0
6 | Tools and Test Equipment (Optional)
A | Optical Power Meter 1310nm, 1490nm, 1550nm | unit |  |  |  |  | 0 | 0 |  |  |  |  | 500001046 | OPTICAL POWER METER TEST | Service
B | OTDR (Optical Time Domain Reflectometer) | unit |  |  |  |  | 0 | 0 |  |  |  |  | 500001047 | OTDR TEST | Service
C | Fusion Splicer | unit |  |  |  |  | 0 | 0 |  |  |  |  | 500002110 | FUSION SPLICER | Service
Sub Total Tools and Test Equipment | [6 empty] | 0 | 0 | 0
7 | Training - (Optional)
A | FTTH Local Training | person |  |  |  |  | 0 | 0 |  |  |  |  | 500002111 | FTTH LOCAL TRAINING | Service
B | FTTH Training Certified by FTTH Council | person |  |  |  |  | 0 | 0 |  |  |  |  | 500002112 | FTTH TRAINING CERTIFIED BY FTTH COUNCIL | Service
Sub Total Training | [6 empty] | 0 | 0 | 0
8 | Bank Garansi (Optional)- di DKI untuk UG saja
A | Jaminan Pelaksanaan Perbaikan Berupa Bank Garansi | qty |  |  |  |  | 0 | 0 |  |  |  |  | 500002086 | JAMINAN PERBAIKAN BERUPA BANK GARANSI | Service
B | Jaminan Pemeliharaan Berupa Bank Garansi | lot |  |  |  |  | 0 | 0 |  |  |  |  | 500002087 | JAMINAN PEMELIHARAAN BERUPA BANK GARANSI | Service
SUB TOTAL Bank Garansi (Optional) | [6 empty] | 0 | 0 | 0
Total ODN, OSP, Aktivasi, Instalasi, Integrasi, Testing & Dokumentasi | [6 empty] | #REF! | #REF!
Grand Total | [6 empty] | #REF!
Cost per Home Pass (IDR) | [6 empty] | #REF!
Cost per Home Pass (USD) | [6 empty] | #REF!
| (Vendor Name) | [11 empty] | PT. Eka Mas Repulik
| Responsibility Vendor : | [11 empty] | Responsibility Customer :
| Name : | [11 empty] | Name :
| ID : | [11 empty] | ID :
| Signature : | [11 empty] | Signature :
Date:
Date: / /2026

## BoM CLUSTER AE & UG
BoM Cluster - Standard ODN | XXX | FDT 1 | FDT 2 | FDT 3 | FDT 4 | FDT 5 | FDT 6 | FDT 7 | FDT 8 | FDT 9 | FDT 10 | Unit | Remarks
Total Rute | Line A - 24C/2T | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | m | qty based on design
| Line B - 24C/2T | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | m | qty based on design
| Line C - 24C/2T | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | m | qty based on design
| Line D - 24C/2T | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | m | qty based on design
| Line A - 36C/3T | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | m | qty based on design
| Line B - 36C/3T | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | m | qty based on design
| Line C - 36C/3T | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | m | qty based on design
| Line D - 36C/3T | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | m | qty based on design
| Line A - 48C/4T | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | m | qty based on design
| Line B - 48C/4T | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | m | qty based on design
| Line C - 48C/4T | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | m | qty based on design
| Line D - 48C/4T | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | m | qty based on design
Total Rute |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | m | auto (based on formula)
| Rute Strand Wire | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | m | qty based on design
BoM Cluster - Low Cost ODN | XXX | HUB BOX 1 | HUB BOX 2 | HUB BOX 3 | HUB BOX 4 | HUB BOX 5 | HUB BOX 6 | HUB BOX 7 | HUB BOX 8 | HUB BOX 9 | HUB BOX 10 | Unit | Remarks
Total Rute | Round Cable 1C - 50 m | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | m | qty based on design
| Round Cable 1C - 100 m | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | m | qty based on design
| Round Cable 1C - 150 m | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | m | qty based on design
| Round Cable 1C - 200 m | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | m | qty based on design
| Round Cable 1C - 250 m | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | m | qty based on design
| Round Cable 1C - 300 m | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | m | qty based on design
Total Rute |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | m | auto (based on formula)
Total Panjang Kabel (Slack + Toleransi 5%) | Line A - 24C/2T | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | m | auto (based on formula)
| Line B - 24C/2T | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | m | auto (based on formula)
| Line C - 24C/2T | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | m | auto (based on formula)
| Line D - 24C/2T | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | m | auto (based on formula)
| Line A - 36C/3T | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | m | auto (based on formula)
| Line B - 36C/3T | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | m | auto (based on formula)
| Line C - 36C/3T | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | m | auto (based on formula)
| Line D - 36C/3T | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | m | auto (based on formula)
| Line A - 48C/4T | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | m | auto (based on formula)
| Line B - 48C/4T | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | m | auto (based on formula)
| Line C - 48C/4T | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | m | auto (based on formula)
| Line D - 48C/4T | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | m | auto (based on formula)
Total Panjang Cable |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | m | auto (based on formula)
| Panjang Strand Wire + toleransi 5% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | m | auto (based on formula)
Total FDT Pole Mounted | FDT Pole Mounted 48 core | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | set | qty based on design
| FDT Pole Mounted 72 core | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | set | qty based on design
| FDT Pole Mounted 96 core | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | set | qty based on design
| FDT Ground Mounted 144 core | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | set | qty based on design
Total Hub Box Pole Mounted | HUB Box | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total Splitter | Modular 1:8 di FDT | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | unit | auto (based on formula)
| FAT 1:8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | unit | auto (based on formula)
Total FAT | Line A | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | unit | qty based on design
| Line B | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | unit | qty based on design
| Line C | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | unit | qty based on design
| Line D | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | unit | qty based on design
Total Sub Box | Line A | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | unit | qty based on design
| Line B | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | unit | qty based on design
| Line C | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | unit | qty based on design
| Line D | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | unit | qty based on design
Total Slack di FDT | Line A | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | slack | auto (based on formula)
| Line B | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | slack | auto (based on formula)
| Line C | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | slack | auto (based on formula)
| Line D | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | slack | auto (based on formula)
Total Slack di Hub Box | Line A | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | slack | auto (based on formula)
| Line B | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | slack | auto (based on formula)
| Line C | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | slack | auto (based on formula)
| Line D | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | slack | auto (based on formula)
Total Slack di FAT | Line A | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | slack | auto (based on formula)
| Line B | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | slack | auto (based on formula)
| Line C | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | slack | auto (based on formula)
| Line D | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | slack | auto (based on formula)
Total Slack di Sub Box | Line A | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | slack | auto (based on formula)
| Line B | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | slack | auto (based on formula)
| Line C | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | slack | auto (based on formula)
| Line D | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | slack | auto (based on formula)
Panjang Slack |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | m | auto (based on formula)
Label | Label Cable | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | pcs | auto (based on formula)
| Label FDT / Hub Box | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | pcs | auto (based on formula)
| Label FAT / Sub Box include QR code | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | pcs | auto (based on formula)
| Label Pole | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | pcs | auto (based on formula)
Pole | 7m 5" (for Distribution Pole / FDT Pole) | [10 empty] | unit | qty based on design
| 7m 4" (for Feeder Pole / FDT Pole) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | unit | qty based on design
| 7m 3" (for Distribution Pole) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | unit | qty based on design
| 7m 2.5" (for Home Connect) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | unit
| 9m 5" (for crossing roads) | [10 empty] | unit | qty based on design
| 9m 4" (for crossing roads) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | unit | qty based on design
| Existing Pole LN | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | unit | qty based on design
| Existing Pole MTI | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | unit | qty based on design
| Existing Pole MR | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | unit | qty based on design
Accessoris (1 set every acc) | Cable loop holder/plat strip/Cable hanger | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | pcs | auto (based on formula)
| 1. Plate belt 20mm | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | pcs | auto (based on formula)
| 2. Suspension clamp | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | pcs | auto (based on formula)
| 3. Buldog grip | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | pcs | auto (based on formula)
| 7. Clamps Dead end Fittings/clamp buaya | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | pcs | auto (based on formula)
| 8. Bahan Pondasi tiang | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | pcs | auto (based on formula)
| 5. Clamp 8 (Clamp Gantung) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | pcs | qty based on design (untuk implementasi long span, diinstal per 2 m)
| 6. Pole clamp single | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | pcs | auto (based on formula)
| 9. Steel clamp | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | pcs | auto (based on formula)
| 13. HELICAL DEAD END DIAMETER 15.7-17.0 MM | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | pcs | qty based on design
| 14. Extention Arm | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | pcs | qty based on design
Splicing | at FDT | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | core | auto (based on formula)
| at FAT | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | core | auto (based on formula)
10. Testcom FAT | Total FAT | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | auto (based on formula)
11. Testcom FDT | Total FDT | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | auto (based on formula)
Survey and Design | Total rute survey | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | m | auto (based on formula)
Project Management |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | m | auto (based on formula)
| Cable Looping/Tektok | [10 empty] | m | qty based on design
Pekerjaan Galian | Pekerjaan Trenching 30-80 cm | [10 empty] | meter | qty based on design
| Boring manual 150cm | [10 empty] | meter | qty based on design
| Boring manual Crossing | [10 empty] | meter | qty based on design
| Sub Duct / HDPE 32/28 warna hitam, 3 strip ungu | [10 empty] | m | qty based on design
| Sub Duct / HDPE 40/34 warna Ungu, 3 Strip Putih | [10 empty] | m | qty based on design
Toleransi
| Sub Duct / HDPE 32/28 warna hitam, 3 strip ungu | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | m | auto (based on formula)
| Sub Duct / HDPE 40/34 warna Ungu, 3 Strip Putih | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | m | auto (based on formula)
Socket HDPE | Socket HDPE 32/28 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | pcs | auto (based on formula)
| Socket HDPE 40/34 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | pcs | auto (based on formula)
Total Precast HH | FDT : 80 x 80 x 130 cm | [10 empty] | unit | qty based on design
| FAT : 40 x 40 x 60 cm | [10 empty] | unit | qty based on design
| HH pit : 20x20x20 cm | [10 empty] | unit | qty based on design
| Underground Pedestal SPH920 | [10 empty] | unit | qty based on design
Total Concrete HH | FDT : 80 x 80 x 130 cm | [10 empty] | meter | qty based on design
| FAT : 40 x 40 x 60 cm | [10 empty] | meter | qty based on design
| HH pit : 20x20x20 cm | [10 empty] | meter | qty based on design
Label HandHole |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | pcs | auto (based on formula)
Warning tape | (Tulisan KABEL MY REPUBLIC) | [10 empty] | meter | qty based on design
Tambang pancing/Roding rope | Tambang pancing/Roding rope | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | meter | auto (based on formula)
Large Raduis Tee | Y Adaptor/ T-Wey | [10 empty] | pcs | qty based on design
| Dop 1 inch | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | pcs | auto (based on formula)
Galvanize pipe (diameter 2 inch) | riser pipe | [10 empty] | meter | qty based on design
Galvanize pipe (diameter 3 inch) | riser pipe | [10 empty] | meter | qty based on design